## Detailed Estimate IE
SR # | CSI SECT | DESCRIPTION | QUANTITY | WASTAGE (10%) | QTY WITH WASTAGE | UNIT OF MEASUREMENT | UNIT COST | TOTAL ITEM COST | TOTAL TRADE COST
| DIV. 02 | SITE WORKS | [6 empty] | 49059.9
1 |  | 6' High Wood Privacy Fence | 143 | 10% | 157.3 | LF | 18 | 2831.4
Existing Conditions
2 |  | Relocation Of Existing Bath Tub | 1 | 0% | 1 | EA | 200 | 200
3 |  | Relocation Of Existing Lavatory | 1 | 0% | 1 | EA | 80 | 80
4 |  | Relocation Of Existing Wc | 1 | 0% | 1 | EA | 80 | 80
5 |  | Removal Of Existing Bath Tub | 2 | 0% | 2 | EA | 200 | 400
6 |  | Removal Of Existing Brick Facade | 301 | 0% | 301 | SF | 6.5 | 1956.5
7 |  | Removal Of Existing Cabinetry | 17 | 0% | 17 | LF | 40 | 680
8 |  | Removal Of Existing Ceiling | 1963 | 0% | 1963 | SF | 1.2 | 2355.6
9 |  | Removal Of Existing Concrete Foundation | 12 | 0% | 12 | LF | 150 | 1800
10 |  | Removal Of Existing Concrete Foundation Wall | 94 | 0% | 94 | SF | 6.8 | 639.2
11 |  | Removal Of Existing Concrete Patio | 68 | 0% | 68 | SF | 6.8 | 462.4
12 |  | Removal Of Existing Concrete Slab On Grade | 773 | 0% | 773 | SF | 6.8 | 5256.4
13 |  | Removal Of Existing Concrete Stairs | 2 | 0% | 2 | RISER | 150 | 300
14 |  | Removal Of Existing Countertop | 27 | 0% | 27 | SF | 30 | 810
15 |  | Removal Of Existing Countertop And Cabinetry Below | 26 | 0% | 26 | SF | 70 | 1820
16 |  | Removal Of Existing Door | 40 | 0% | 40 | EA | 80 | 3200
17 |  | Removal Of Existing Faux Stone Stucco | 285 | 0% | 285 | SF | 5.8 | 1653
18 |  | Removal Of Existing Floor Finish | 2621 | 0% | 2621 | SF | 2.4 | 6290.4
19 |  | Removal Of Existing Gas Range | 2 | 0% | 2 | EA | 200 | 400
20 |  | Removal Of Existing Glass Shower Enclosure | 1 | 0% | 1 | EA | 300 | 300
21 |  | Removal Of Existing Guardrail | 215 | 0% | 215 | LF | 10 | 2150
22 |  | Removal Of Existing Lavatory | 6 | 0% | 6 | EA | 80 | 480
23 |  | Removal Of Existing Oil Tanker In Cellar (5'-3" X 2'-4") | 1 | 0% | 1 | EA | 150 | 150
24 |  | Removal Of Existing Partition Wall | 3164 | 0% | 3164 | SF | 1.1 | 3480.4
25 |  | Removal Of Existing Patio | 148 | 0% | 148 | SF | 4 | 592
26 |  | Removal Of Existing Roofing (For Access Hatch) | 7 | 0% | 7 | SF | 200 | 1400
27 |  | Removal Of Existing Sink | 3 | 0% | 3 | EA | 80 | 240
28 |  | Removal Of Existing Stairs | 91 | 0% | 91 | RISER | 60 | 5460
29 |  | Removal Of Existing Steam Boiler | 1 | 0% | 1 | EA | 300 | 300
30 |  | Removal Of Existing Steel Stairs | 65 | 0% | 65 | RISER | 30 | 1950
31 |  | Removal Of Existing Steel Stairs Landing | 12 | 0% | 12 | SF | 12.2 | 146.4
32 |  | Removal Of Existing Wall Portion | 11 | 0% | 11 | SF | 14.2 | 156.2
33 |  | Removal Of Existing Wc | 4 | 0% | 4 | EA | 80 | 320
34 |  | Removal Of Existing Windows | 18 | 0% | 18 | EA | 40 | 720
| DIV. 03 | CONCRETE | [6 empty] | 68292.6911
35 |  | 5" Thick Slab On Grade | 1201 | 10% | 1321.1 | SF | 7.8 | 10304.58
36 |  | 8" Thick Concrete Pad For Stairs Landing | 100 | 10% | 110 | SF | 8.2 | 902
37 |  | Concrete For Foundation W/ Reinf. #3 @12" O.C. T&B Each Way & (3) #5 | 5.2593 | 10% | 5.7852 | CY | 750 | 4338.8889
38 |  | Concrete For Foundation W/ Reinf. #4 @12" O.C. & #5 @9" O.C. | 3.4444 | 10% | 3.7889 | CY | 750 | 2841.6667
39 |  | Concrete For Foundation W/ Reinf. #4 @12" O.C. Each Way Top And Bottom | 9.1852 | 10% | 10.1037 | CY | 750 | 7577.7778
40 |  | Concrete For Foundation W/ Reinf. #4 @6" O.C. Each Way Top And Bottom | 3.7037 | 10% | 4.0741 | CY | 750 | 3055.5556
41 |  | Concrete For Foundation W/ Reinf. #5 Dowells @8" O.C. & Two Layers Of #5 @8" O.C. Each Way | 3.5926 | 10% | 3.9519 | CY | 750 | 2963.8889
42 |  | Concrete For Foundation Wall W/ Reinf. #5 @12" O.C. | 1.1852 | 10% | 1.3037 | CY | 750 | 977.7778
43 |  | Concrete For Foundation Wall W/ Reinf. #5 Dowell @12" O.C. & #4 @12" O.C. Each Way | 14.8889 | 10% | 16.3778 | CY | 750 | 12283.3333
44 |  | Concrete For Foundation Wall W/ Reinf. #5 Dowell @12" O.C. & Two Layers #4 @12" O.C. Each Way | 8.9259 | 10% | 9.8185 | CY | 750 | 7363.8889
45 |  | Concrete For Underpinning W/ Reinf. #4 @12" O.C. E.W | 12.2222 | 10% | 13.4444 | CY | 750 | 10083.3333
Stairs
46 |  | Concrete Stairs | 28 | 0% | 28 | RISER | 200 | 5600
| DIV. 04 | MASONRY | [6 empty] | 74439.2
47 |  | 8" Reinforced Cmu Wall | 1538 | 10% | 1691.8 | SF | 16.4 | 27745.52
48 |  | Brick Veneer | 1538 | 10% | 1691.8 | SF | 27.6 | 46693.68
| DIV. 05 | METALS | [6 empty] | 15464.1
49 |  | Galvanized Steel Dunnage Beam (W8x31) | 10 | 10% | 11 | LF | 52.3 | 575.3
50 |  | Galvanized Steel Fdny Steps On Roof | 4 | 10% | 4.4 | EA | 110 | 484
51 |  | L4 X 3-1/2 X 3/8" Brick Shelf Angle | 62 | 10% | 68.2 | LF | 18 | 1227.6
52 |  | Steel Base Plate | 4 | 0% | 4 | EA | 200 | 800
53 |  | Steel Deck | 36 | 10% | 39.6 | SF | 4.6 | 182.16
54 |  | Steel Lintel (2) Mc10 X 28.5 | 16 | 10% | 17.6 | LF | 24 | 422.4
55 |  | Steel Lintel W8X31 | 38 | 10% | 41.8 | LF | 52.3 | 2186.14
56 |  | Steel Section Hss 6" X 4" X 3/8" | 96 | 10% | 105.6 | LF | 34 | 3590.4
57 |  | Steel Section W8X24 | 30 | 10% | 33 | LF | 42.3 | 1395.9
58 |  | Steel Stairs | 27 | 0% | 27 | RISER | 110 | 2970
59 |  | Steel Stringer C10 X 15.3 | 57 | 10% | 62.7 | LF | 26 | 1630.2
| DIV. 06 | WOOD, PLASTIC AND COMPOSITES | [6 empty] | 125438.32
Wooden Posts
60 |  | Handrail Baluster/Newel Post | 4 | 0% | 4 | EA | 40 | 160
61 |  | Post 4X4 | 189 | 10% | 207.9 | LF | 5.4 | 1122.66
Structural Lumber
62 |  | (2) 1-3/4 X 14 Lvl | 14 | 10% | 15.4 | LF | 18.2 | 280.28
63 |  | 3-1/2 X 14 Lvl | 23 | 10% | 25.3 | LF | 18.2 | 460.46
64 |  | 3-1/2 X 9-1/4 Lvl | 127 | 10% | 139.7 | LF | 12.2 | 1704.34
65 |  | Header (2) 2X10 | 28 | 10% | 30.8 | LF | 6.9 | 212.52
66 |  | Header (3) 3-1/2 X 9- 1/4 Lvl | 21 | 10% | 23.1 | LF | 12.2 | 281.82
Joists, Rafters And Trusses
67 |  | 1-3/4 X 9-1/4 Lvl @16" O.C. Sistered With Existing Floor Framing | 3152 | 10% | 3467.2 | SF | 4.2 | 14562.24
68 |  | 2X8 Floor Joists @16" O.C. | 61 | 10% | 67.1 | SF | 2.8 | 187.88
69 |  | 3X10 Floor Joists @16" O.C. | 672 | 10% | 739.2 | SF | 3.9 | 2882.88
Wooden Stairs
70 |  | Wooden Stairs, Tread: 10" Wide, Riser: 7-1/2" High | 47 | 0% | 47 | RISER | 150 | 7050
Plywood Sheathing
71 |  | 3/4" T&G Plywood Subfloor | 3849 | 10% | 4233.9 | SF | 11.6 | 49113.24
Cabinetry/Millwork
72 |  | Closet Cabinetry | 62 | 10% | 68.2 | LF | 600 | 40920
73 |  | 1'-0" Wide X 2'-0" Deep X 2'-6" High Base Cabinetry | 1 | 0% | 1 | EA | 200 | 200
74 |  | 2'-0" Wide X 1'-0" Deep X 2'-6" High Upper Cabinetry | 5 | 0% | 5 | EA | 200 | 1000
75 |  | 2'-0" Wide X 2'-0" Deep X 2'-6" High Base Cabinetry | 7 | 0% | 7 | EA | 400 | 2800
76 |  | 2'-10" Wide X 2'-0" Deep X 2'-6" High Base Cabinetry | 5 | 0% | 5 | EA | 500 | 2500
| DIV. 07 | THERMAL & MOISTURE PROTECTION | [6 empty] | 18393.76
77 |  | R-10 Batt Insulation | 648 | 10% | 712.8 | SF | 2.1 | 1496.88
78 |  | R-11 3-1/2" Sound Batt Insulation | 2905 | 10% | 3195.5 | SF | 2.8 | 8947.4
Roofing
79 |  | Non-Combustible Pavers On Roof | 178 | 10% | 195.8 | SF | 14.6 | 2858.68
80 |  | 8" r-25 batt insulation | 178 | 10% | 195.8 | SF | 4.6 | 900.68
81 |  | plywood sheathing | 178 | 10% | 195.8 | SF | 5.2 | 1018.16
82 |  | 1/2" gypsum sheathing | 178 | 10% | 195.8 | SF | 2.4 | 469.92
83 |  | 1/2" densdek coverboard | 178 | 10% | 195.8 | SF | 2.6 | 509.08
84 |  | cont. rigid polyiso r-25 insulation | 178 | 10% | 195.8 | SF | 4.6 | 900.68
85 |  | class-a roof membrane | 178 | 10% | 195.8 | SF | 6.6 | 1292.28
| DIV. 08 | OPENINGS | [6 empty] | 61350
86 |  | 2'-6" X 2'-6" Roof Hatch | 1 | 0% | 1 | EA | 1400 | 1400
Doors
87 |  | 1'-6"X7'-0" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 2 | 0% | 2 | EA | 850 | 1700
88 |  | 1'-8"X6'-8" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 2 | 0% | 2 | EA | 900 | 1800
89 |  | 2'-0"X6'-8" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 3 | 0% | 3 | EA | 1000 | 3000
90 |  | 2'-0"X7'-0" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 8 | 0% | 8 | EA | 1000 | 8000
91 |  | 2'-4"X6'-8" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 1 | 0% | 1 | EA | 1000 | 1000
92 |  | 2'-4"X7'-0" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 4 | 0% | 4 | EA | 1000 | 4000
93 |  | 2'-6"X6'-8" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 1 | 0% | 1 | EA | 1100 | 1100
94 |  | 2'-6"X7'-0" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 2 | 0% | 2 | EA | 1100 | 2200
95 |  | 2'-8"X6'-8" Door, Material: Glass, Frame Material: Wood | 1 | 0% | 1 | EA | 1250 | 1250
96 |  | 2'-8"X6'-8" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 4 | 0% | 4 | EA | 1050 | 4200
97 |  | 2'-8"X7'-0" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 5 | 0% | 5 | EA | 1100 | 5500
98 |  | 3'-0"X6'-8" Door, Material: Wood, Frame Material: Wood, Manufacturer And Model No: Anderson Straight-Line Entry, Finish: Stain/Clear Topcoat | 1 | 0% | 1 | EA | 1150 | 1150
99 |  | 2'-10"X7-0" Door, Material: Metal And Glass, Frame Material: Metal, Finish: Anodized/Painted, Manufacturer And Model No: Anderson A-Series | 1 | 0% | 1 | EA | 1200 | 1200
100 |  | 2'-10"X7'-0" Door, Material: Metal/Glass, Frame Material: Metal, Manufacturer And Model No: Anderson A-Series, Finish: Primed And Painted | 1 | 0% | 1 | EA | 1200 | 1200
101 |  | 2'-10"X7'-0" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 1 | 0% | 1 | EA | 1150 | 1150
102 |  | 2'-2"X8-0" Door, Material: Wood And Glass, Frame Material: Metal, Finish: Stain/Clear Topcoat, Manufacturer And Model No: Anderson Straight-Line Entry | 2 | 0% | 2 | EA | 1100 | 2200
103 |  | 2'-4"X7'-0" Door, Material: Metal And Glass, Frame Material: Metal, Manufacturer And Model No: Anderson A-Series, Finish: Anodized/Painted | 1 | 0% | 1 | EA | 1150 | 1150
104 |  | 2'-10"X6'-8" Door, Material: Wood, Frame Material: Wood, Finish: Primed And Painted | 1 | 0% | 1 | EA | 1150 | 1150
105 |  | 2'-4"X6'-8" Door, Material: Metal, Frame Material: Metal, Finish: Primed And Painted | 1 | 0% | 1 | EA | 1050 | 1050
106 |  | 3'-0"X6'-8" Door, Material: Metal, Frame Material: Metal, Finish: Primed And Painted | 1 | 0% | 1 | EA | 1150 | 1150
Windows
107 |  | 12'-0"X9'-0" Window, Material: Aluminium/Wood, Type: Awning/Double Hung, Manufacturer And Model No: Anderson A-Series, Finish: Anodized/Primed | 1 | 0% | 1 | EA | 4500 | 4500
108 |  | 2'-6.75"X4'-5.5" Window, Material: Aluminium/Wood, Type: Double Hung, Manufacturer And Model No: Anderson A-Series, Finish: Anodized/Primed | 2 | 0% | 2 | EA | 500 | 1000
109 |  | 2'-8"X4'-6" Window, Material: Aluminium/Wood, Type: Double Hung, Manufacturer And Model No: Anderson A-Series, Finish: Anodized/Primed | 2 | 0% | 2 | EA | 500 | 1000
110 |  | 2'-8"X5'-0" Window, Material: Aluminium/Wood, Type: Double Hung, Manufacturer And Model No: Anderson A-Series, Finish: Anodized/Primed | 2 | 0% | 2 | EA | 600 | 1200
111 |  | 2'-8"X5'-1" Window, Material: Aluminium/Wood, Type: Double Hung, Manufacturer And Model No: Anderson A-Series, Finish: Anodized/Primed | 3 | 0% | 3 | EA | 600 | 1800
112 |  | 2'-8"X5'-7.5" Window, Material: Aluminium/Wood, Type: Double Hung, Manufacturer And Model No: Anderson A-Series, Finish: Anodized/Primed | 3 | 0% | 3 | EA | 800 | 2400
113 |  | 2'-8"X6'-8.75" Window, Material: Aluminium/Wood, Type: Double Hung, Manufacturer And Model No: Anderson A-Series, Finish: Anodized/Primed | 2 | 0% | 2 | EA | 800 | 1600
114 |  | 7'-4"X5'-4" Window, Material: Aluminium/Wood, Type: Double Hung, Manufacturer And Model No: Anderson A-Series, Finish: Anodized/Primed | 1 | 0% | 1 | EA | 1300 | 1300
| DIV. 09 | FINISHES | [6 empty] | 147117.08
Dry Walls
Wall Type 0.1
115 |  | 3-5/8" 20 Ga. Metal Studs @24" O.C. | 2656 | 10% | 2921.6 | SF | 2.8 | 8180.48
116 |  | 5/8" Gypsum Wall Board On Each Side | 5312 | 10% | 5843.2 | SF | 2.3 | 13439.36
117 |  | Sound Batt Insulation | 2656 | 10% | 2921.6 | SF | 3 | 8764.8
118 |  | 3-5/8" Bottom Runner | 302 | 10% | 332.2 | LF | 3.6 | 1195.92
119 |  | 3-5/8" Top Runner | 348 | 10% | 382.8 | LF | 3.6 | 1378.08
Wall Type 0.1 1' Wide
120 |  | 3-5/8" 20 Ga. Metal Studs @24" O.C. | 120 | 10% | 132 | SF | 2.8 | 369.6
121 |  | 5/8" Gypsum Wall Board On Each Side | 80 | 10% | 88 | SF | 2.3 | 202.4
122 |  | Sound Batt Insulation | 40 | 10% | 44 | SF | 3 | 132
123 |  | 3-5/8" Bottom Runner | 15 | 10% | 16.5 | LF | 3.6 | 59.4
124 |  | 3-5/8" Top Runner | 15 | 10% | 16.5 | LF | 3.6 | 59.4
Wall Type 0.1 6" Wide
125 |  | 5" 20 Ga. Metal Studs @24" O.C. | 244 | 10% | 268.4 | SF | 3 | 805.2
126 |  | 5/8" Gypsum Wall Board On Each Side | 488 | 10% | 536.8 | SF | 2.3 | 1234.64
127 |  | Sound Batt Insulation | 244 | 10% | 268.4 | SF | 3 | 805.2
128 |  | 3-5/8" Bottom Runner | 22 | 10% | 24.2 | LF | 3.6 | 87.12
129 |  | 3-5/8" Top Runner | 30 | 10% | 33 | LF | 3.6 | 118.8
Wall Type 0.1 8" Wide
130 |  | 3-5/8" 20 Ga. Metal Studs @24" O.C. | 39 | 10% | 42.9 | SF | 2.8 | 120.12
131 |  | 5/8" Gypsum Wall Board On Each Side | 78 | 10% | 85.8 | SF | 2.3 | 197.34
132 |  | Sound Batt Insulation | 39 | 10% | 42.9 | SF | 3 | 128.7
133 |  | 3-5/8" Bottom Runner | 5 | 10% | 5.5 | LF | 3.6 | 19.8
134 |  | 3-5/8" Top Runner | 5 | 10% | 5.5 | LF | 3.6 | 19.8
Wall Type 0.2
135 |  | 1-5/8" 20 Ga. Metal Studs On Each Side @24" O.C. | 328 | 10% | 360.8 | SF | 2.4 | 865.92
136 |  | 5/8" Gypsum Wall Board On Each Side | 328 | 10% | 360.8 | SF | 2.3 | 829.84
137 |  | Sound Batt Insulation | 164 | 10% | 180.4 | SF | 3 | 541.2
138 |  | 1-5/8" Bottom Runner | 12 | 10% | 13.2 | LF | 3.2 | 42.24
139 |  | 1-5/8" Top Runner | 40 | 10% | 44 | LF | 3.2 | 140.8
Wall Type 0.3
140 |  | Metal Furring Channels @16" O.C. | 81 | 10% | 89.1 | SF | 3.6 | 320.76
141 |  | 5/8" Gypsum Wall Board | 81 | 10% | 89.1 | SF | 2.3 | 204.93
142 |  | 2" Polyiso Rigid Insulation | 81 | 10% | 89.1 | SF | 2.1 | 187.11
Wall Type 1.1
143 |  | 3-5/8" 20 Ga. Metal Studs @24" O.C. | 235 | 10% | 258.5 | SF | 2.8 | 723.8
144 |  | 5/8" Type 'X' Gypsum Wall Board On Each Side | 470 | 10% | 517 | SF | 2.3 | 1189.1
145 |  | 2-1/2" Sound Batt Insulation | 235 | 10% | 258.5 | SF | 3.2 | 827.2
146 |  | 3-5/8" Bottom Runner | 21 | 10% | 23.1 | LF | 3.2 | 73.92
147 |  | 3-5/8" Top Runner | 30 | 10% | 33 | LF | 3.2 | 105.6
Wall Type 2.1
148 |  | Drained Eifs System On 3" Eps (R-6.5) Insulation On Exterior Side | 795 | 10% | 874.5 | SF | 6.2 | 5421.9
149 |  | 1-5/8" 25 Ga. Metal Studs @16" O.C. | 795 | 10% | 874.5 | SF | 2.4 | 2098.8
150 |  | 3" Polyiso R-19.5 Rigid Insulation With Foil Face And Taped Seams | 795 | 10% | 874.5 | SF | 3 | 2623.5
151 |  | 5/8" Gypsum Wall Board | 795 | 10% | 874.5 | SF | 2.3 | 2011.35
152 |  | 1-5/8" Bottom Runner | 94 | 10% | 103.4 | LF | 2.8 | 289.52
153 |  | 1-5/8" Top Runner | 94 | 10% | 103.4 | LF | 2.8 | 289.52
Wall Type 2.2
154 |  | Metal Furring Channels @16" O.C. | 432 | 10% | 475.2 | SF | 3.6 | 1710.72
155 |  | 3" Polyiso R-19.5 Rigid Insulation With Foil Face And Taped Seams | 432 | 10% | 475.2 | SF | 3 | 1425.6
156 |  | 5/8" Gypsum Wall Board | 432 | 10% | 475.2 | SF | 2.3 | 1092.96
157 |  | 1-5/8" Bottom Runner | 49 | 10% | 53.9 | LF | 2.8 | 150.92
158 |  | 1-5/8" Top Runner | 49 | 10% | 53.9 | LF | 2.8 | 150.92
Floor Finishes
159 |  | Tile Flooring (Assumed, Not Mentioned) | 280 | 10% | 308 | SF | 11.5 | 3542
160 |  | Wood Flooring (Assumed, Not Mentioned) | 1989 | 10% | 2187.9 | SF | 16.8 | 36756.72
Ceiling Materials
161 |  | 2 layers of 5/8" gypsum wall board ceiling | 783 | 10% | 861.3 | SF | 2.5 | 2153.25
Wall Finishes
162 |  | Tiles On Wall (Assumed, Not Mentioned) | 842 | 10% | 926.2 | SF | 14.5 | 13429.9
|  | Paint on Walls | 8064 | 10% | 8870.4 | SF | 3.1 | 27498.24
|  | Paint on Ceilings | 783 | 10% | 861.3 | SF | 3.6 | 3100.68
| DIV. 10 | SPECIALTIES | [6 empty] | 4608.5
163 |  | 24" High Wooden Guardrail | 10 | 10% | 11 | LF | 35 | 385
164 |  | 30" High Wooden Guardrail | 16 | 10% | 17.6 | LF | 40 | 704
165 |  | 42" High Wooden Guardrail | 32 | 10% | 35.2 | LF | 45 | 1584
166 |  | 42" High Iron Guardrail | 29 | 10% | 31.9 | LF | 45 | 1435.5
167 |  | 3'-0" X 6'-0" Platform Over Dunnage | 1 | 0% | 1 | EA | 500 | 500
| DIV. 11 | EQUIPMENT'S | [6 empty] | 9700
168 |  | 48" Wide Gas Range | 1 | 0% | 1 | EA | 1500 | 1500
169 |  | 48" Wide Refrigerator | 1 | 0% | 1 | EA | 2600 | 2600
170 |  | Dishwasher | 1 | 0% | 1 | EA | 800 | 800
171 |  | Gas Dryer | 1 | 0% | 1 | EA | 650 | 650
172 |  | Gas Fireplace | 1 | 0% | 1 | EA | 3500 | 3500
173 |  | Washer | 1 | 0% | 1 | EA | 650 | 650
| DIV. 12 | FURNISHING | [6 empty] | 21599
174 |  | 19" Deep X 18" High Window Seat W/ Storage | 23 | 10% | 25.3 | LF | 200 | 5060
175 |  | 48" Wide Bench | 1 | 0% | 1 | EA | 600 | 600
Countertop
176 |  | Granite Countertop | 138 | 10% | 151.8 | SF | 105 | 15939
| DIV. 22 | PLUMBING | [6 empty] | 41972.528
177 |  | 1-1/2" Water Meter | 1 | 0% | 1 | EA | 350 | 350
178 |  | Area Drain | 3 | 0% | 3 | EA | 700 | 2100
179 |  | Bath Tub | 3 | 0% | 3 | EA | 1800
180 |  | Disconnection And Removal Of Existing 1" Water Meter And Associated Pipe | 1 | 0% | 1 | EA | 200 | 200
181 |  | Disconnection And Removal Of Existing Pipe From Area Drain | 1 | 0% | 1 | EA | 600 | 600
182 |  | Floor Drain | 3 | 0% | 3 | EA | 700 | 2100
183 |  | Lavatory | 5 | 0% | 5 | EA | 850 | 4250
184 |  | Sink | 4 | 0% | 4 | EA | 800 | 3200
Pipes
185 |  | Pipe 1" Dia | 100 | 10% | 110 | LF | 16.38 | 1801.8
186 |  | Pipe 1/2" Dia | 25 | 10% | 27.5 | LF | 14.28 | 392.7
187 |  | Pipe 1-1/2" Dia | 167 | 10% | 183.7 | LF | 20.16 | 3703.392
188 |  | Pipe 1-1/4" Dia | 29 | 10% | 31.9 | LF | 17.92 | 571.648
189 |  | Pipe 2" Dia | 258 | 10% | 283.8 | LF | 23.8 | 6754.44
190 |  | Pipe 3" Dia | 194 | 10% | 213.4 | LF | 33.32 | 7110.488
191 |  | Pipe 3/4" Dia | 88 | 10% | 96.8 | LF | 14.98 | 1450.064
192 |  | Pipe 4" Dia | 166 | 10% | 182.6 | LF | 40.46 | 7387.996
| DIV. 23 | MECHANICAL | [6 empty] | 45742.39
Indoor Unit Schedule
193 |  | Mitsubishi City Multi Vrf Indoor Unit, Model: Pefy-P18Nmau-E3, Nominal Cooling Capacity: 18000 Btu, Nominal Heating Capacity: 20000, Type: Ceiling Concealed Type(Ducted) | 3 | 0% | 3 | EA | 1800 | 5400
194 |  | Mitsubishi City Multi Vrf Indoor Unit, Model: Pefy-P18Nmsu-Er2, Nominal Cooling Capacity: 18100 Btu, Nominal Heating Capacity: 20100, Type: Ceiling Concealed Type(Ducted) | 2 | 0% | 2 | EA | 2200 | 4400
Outdoor Unit Schedule
195 |  | Mitsubishi City Multi Vrf Outdoor Unit, Model: Pumy-P60Nkmu1, Nominal Cooling Capacity: 60000 Btu, Nominal Heating Capacity: 66000 Btu | 1 | 0% | 1 | EA | 11000 | 11000
196 |  | Mitsubishi City Multi Vrf Outdoor Unit, Model: Pumy-P36Nkmu1, Nominal Cooling Capacity: 36000 Btu, Nominal Heating Capacity: 42000 Btu | 1 | 0% | 1 | EA | 7000 | 7000
Condensing Unit
197 |  | Condensing Unit, Manufacturer: Johnson-Guardian, Model: Rac17L42B21S, Cooling Capacity: 41.5 Mh, Heating Capacity: 47 Mh | 1 | 0% | 1 | EA | 3600 | 3600
Cooling Coil
198 |  | Cooling Coil, Manufacturer: Johnson-Guardian, Model: Cm60Cbda1, Total Capacity: 41.5 Mh | 1 | 0% | 1 | EA | 1500 | 1500
Misc.
199 |  | Carbon Monoxide Detector | 1 | 0% | 1 | EA | 140 | 140
200 |  | Diffuser | 9 | 0% | 9 | EA | 200 | 1800
201 |  | Electric Radiant Floor Heating Nuheat Mat, Btu: 41 | 2 | 0% | 2 | EA | 1500 | 3000
202 |  | Gas Furnace | 1 | 0% | 1 | EA | 2000 | 2000
203 |  | Hot Water Heater | 1 | 0% | 1 | EA | 900 | 900
204 |  | Louver 24"X6" | 1 | 0% | 1 | EA | 200 | 200
205 |  | Louver 26"X6" | 4 | 0% | 4 | EA | 200 | 800
206 |  | Louver 36"X8" | 4 | 0% | 4 | EA | 200 | 800
207 |  | Thermostat | 3 | 0% | 3 | EA | 160 | 480
Duct Work
208 |  | Duct 26"X6" | 14 | 10% | 15.4 | LF | 14.2 | 218.68
209 |  | Duct 3" Dia | 6 | 10% | 6.6 | LF | 6.3 | 41.58
210 |  | Duct 36"X6" | 15 | 10% | 16.5 | LF | 15.2 | 250.8
211 |  | Duct 36"X8" | 5 | 10% | 5.5 | LF | 15.4 | 84.7
212 |  | Duct 4" Dia | 98 | 10% | 107.8 | LF | 6.5 | 700.7
213 |  | Duct 6"X6" | 60 | 10% | 66 | LF | 12 | 792
214 |  | Duct 8" Dia | 9 | 10% | 9.9 | LF | 8.5 | 84.15
215 |  | Duct 8"X4" | 2 | 10% | 2.2 | LF | 12 | 26.4
216 |  | Duct 8"X6" | 39 | 10% | 42.9 | LF | 12.2 | 523.38
| DIV. 26 | ELECTRICAL | [6 empty] | 30570
217 |  | 4" Recessed Downlight | 47 | 0% | 47 | EA | 200 | 9400
218 |  | 6" Recessed Downlight | 14 | 0% | 14 | EA | 250 | 3500
219 |  | Duplex Receptacle Gfi | 9 | 0% | 9 | EA | 160 | 1440
220 |  | Junction Box | 4 | 0% | 4 | EA | 600 | 2400
221 |  | Large Pendant Light | 3 | 0% | 3 | EA | 350 | 1050
222 |  | Outdoor Wall Sconce Light | 8 | 0% | 8 | EA | 250 | 2000
223 |  | Surface Mounted Led | 17 | 0% | 17 | EA | 160 | 2720
224 |  | Switch | 50 | 0% | 50 | EA | 110 | 5500
225 |  | Switch 3-Way | 4 | 0% | 4 | EA | 160 | 640
226 |  | Wall Sconce W/ Led Bulb | 2 | 0% | 2 | EA | 210 | 420
227 |  | Water Resistant Ul Listed Led Shower Light | 5 | 0% | 5 | EA | 300 | 1500
| DIV. 31 | EARTHWORK | [6 empty] | 1035
228 |  | Excavation Of Earth | 23 | 0% | 23 | CY | 45 | 1035
SUB TOTAL | [7 empty] | 714782.4691 | 714782.4691
OVERHEAD & PROFIT (25%) | [6 empty] | 25% | 178695.6173 | 178695.6173
TOTAL BID | [7 empty] | 893478.0864 | 893478.0864